IP Camera

Smartphone-ready colour night/day

network camera with pan, tilt and zoom

DYN-631

SPECIFICATIONS:

- Product type: IP camera

- Operation system: Embedded operating system

- Web protocol: TCP/IP, UDP/IP, HTTP, SMTP, FTP, DHCP, DDNS, UPNP, NTP, RTSP, ONVIF

- LAN port: 802.11 b/g/n

- Wifi: 10Base-T/100Base-TX

- Resolution: 720P, 640*360, 320*180

- Compression mode: H.264/M-JPEG

- Max frame rate: 30fps

- Lens: f=3.6mm, F=2.0

- Min. illumination: IR on, 0 Lux

- Electronic shutter: 1/50s(1/60s)-1/100,000 s

- SNR: 48db

- Safety performance: Three levels of user rights

- Install mode: Wall-mounted / ceiling-mounted

- Other performance: PC software,support for Microsoft Windows 98/2000/XP/Vista/Windows 7/Mac OS, And the

- Internet Explorer6.1 and above version or browser compatibility, Firefox, etc., provide SmartViewPro client software

- Power supply: DC 5V

- Sensor: CMOS Sensor

- IP camera performance: Support video control, Two-way voice talkback, motion detection, external alarm(sends information to alarm the server by Email, FTP); Manufacturers provide free DDNS, and has been written into equipment; 12pcs IR LEDs,8 meters effectively; Platform level angle 350 °, 90 °vertical angle; automatically control through the photoresistor;

- Audio input: With microphone

- Audio output: Build-in loudspeaker, provide the audio output interface

- Alarm in: Not supported

- Alarm out: Not supported

- Power consumption: Power<6W

- Body size: 105*116*126mm

- Product weight: 0.40kg

- Environment temperature: -10℃--50℃℃

- Environment humidity: below 85% RH